## Sheet1
Sample | Response Base | File Name | Sample Type | Weight_mg | Nitrogen area_mV.s | Nitrogen_mg | Nitrogen_% | Carbon area_mV.s | Carbon_mg | Carbon_% | Nitrogen_Carbon | Nitrogen area_% | Carbon area_% | Comments | Flag
bypass1 | Area | Jones_JS_POC_run12_031815_001.prm | ByPass | 0 | 29.9641 | 0.0069 | 100 | 0 | 0 | 0 | ??? | 1 | 0 |  | 0
bypass2 | Area | Jones_JS_POC_run12_031815_002.prm | ByPass | 0 | 19.0777 | 0.0025 | 100 | 0 | 0 | 0 | ??? | 1 | 0 |  | 0
timingstd_H6 | Area | Jones_JS_POC_run12_031815_003.prm | Unknown | 1.092 | 298.0324 | 0.1148 | 10.5158 | 5115.5195 | 0.7881 | 72.1664 | 0.0583 | 0.055053 | 0.94495 |  | 0
blank1_A6 | Area | Jones_JS_POC_run12_031815_004.prm | Blank | 0 | 14.869 | 0.0008 | 100 | 0 | 0 | 0 | ??? | 1 | 0 |  | 0
std1_F3 | Area | Jones_JS_POC_run12_031815_005.prm | Standard | 0.135 | 46.5646 | 0.0136 | 10.0491 | 637.1051 | 0.0842 | 62.3869 | 0.0731 | 0.06811 | 0.93189 |  | 0
std2_E11 | Area | Jones_JS_POC_run12_031815_006.prm | Standard | 0.383 | 110.7916 | 0.0394 | 10.2952 | 1836.8952 | 0.2728 | 71.2228 | 0.0603 | 0.056884 | 0.94312 |  | 0
std3_E4 | Area | Jones_JS_POC_run12_031815_007.prm | Standard | 0.597 | 136.2436 | 0.0497 | 8.3216 | 2309.9949 | 0.3471 | 58.1468 | 0.059 | 0.055695 | 0.9443 | omitted from calibration, very low response | 0
std4_G11 | Area | Jones_JS_POC_run12_031815_008.prm | Standard | 0.854 | 230.7936 | 0.0878 | 10.2758 | 4030.5947 | 0.6175 | 72.3125 | 0.0573 | 0.054159 | 0.94584 |  | 0
std5_H4 | Area | Jones_JS_POC_run12_031815_009.prm | Standard | 1.483 | 397.4901 | 0.1549 | 10.444 | 6911.2318 | 1.0703 | 72.1696 | 0.0575 | 0.054386 | 0.94561 |  | 0
std6_H11 | Area | Jones_JS_POC_run12_031815_010.prm | Standard | 1.929 | 507.7447 | 0.1993 | 10.3309 | 8766.0809 | 1.3618 | 70.5954 | 0.0579 | 0.05475 | 0.94525 |  | 0
std7_B3 | Area | Jones_JS_POC_run12_031815_011.prm | Standard | 2.269 | 625.1996 | 0.2466 | 10.8675 | 10330 | 1.6074 | 70.8401 | 0.0605 | 0.057069 | 0.94293 |  | 0
blank2_A7 | Area | Jones_JS_POC_run12_031815_012.prm | Unknown | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ??? | 0 | 0 |  | 0
P1036_F8 | Area | Jones_JS_POC_run12_031815_013.prm | Unknown | 0 | 27.8521 | 0.006 | 10.6457 | 423.29 | 0.0506 | 89.3543 | 0.0658 | 0.061737 | 0.93826 |  | 0
P1037_F9 | Area | Jones_JS_POC_run12_031815_014.prm | Unknown | 0 | 33.4466 | 0.0083 | 11.405 | 510.6463 | 0.0643 | 88.595 | 0.0655 | 0.061472 | 0.93853 |  | 0
P1038_F10 | Area | Jones_JS_POC_run12_031815_015.prm | Unknown | 0 | 19.2024 | 0.0025 | 6.8002 | 323.3676 | 0.0349 | 93.1998 | 0.0594 | 0.056054 | 0.94395 |  | 0
P1039_F11 | Area | Jones_JS_POC_run12_031815_016.prm | Unknown | 0 | 48.2912 | 0.0143 | 13.2671 | 694.4475 | 0.0932 | 86.7329 | 0.0695 | 0.065018 | 0.93498 |  | 0
P1040_F12 | Area | Jones_JS_POC_run12_031815_017.prm | Unknown | 0 | 59.7069 | 0.0189 | 13.205 | 889.9271 | 0.124 | 86.795 | 0.0671 | 0.062874 | 0.93713 |  | 0
P1041_G1 | Area | Jones_JS_POC_run12_031815_018.prm | Unknown | 0 | 42.505 | 0.0119 | 11.3447 | 694.4917 | 0.0932 | 88.6553 | 0.0612 | 0.057673 | 0.94233 |  | 0
P1042_G2 | Area | Jones_JS_POC_run12_031815_019.prm | Unknown | 0 | 35.1887 | 0.009 | 14.0301 | 451.5305 | 0.0551 | 85.9699 | 0.0779 | 0.072298 | 0.9277 |  | 0
P1043_G3 | Area | Jones_JS_POC_run12_031815_020.prm | Unknown | 0 | 35.866 | 0.0093 | 14.1503 | 458.6 | 0.0562 | 85.8497 | 0.0782 | 0.072535 | 0.92747 |  | 0
P1044_G4 | Area | Jones_JS_POC_run12_031815_021.prm | Unknown | 0 | 27.7231 | 0.006 | 11.0351 | 407.9063 | 0.0482 | 88.9649 | 0.068 | 0.063639 | 0.93636 |  | 0
P0145_G5 | Area | Jones_JS_POC_run12_031815_022.prm | Unknown | 0 | 45.5074 | 0.0131 | 16.1422 | 535.5666 | 0.0683 | 83.8578 | 0.085 | 0.078316 | 0.92168 |  | 0
P1046_G6 | Area | Jones_JS_POC_run12_031815_023.prm | Unknown | 0 | 37.4848 | 0.0099 | 17.7784 | 392.8274 | 0.0458 | 82.2216 | 0.0954 | 0.087111 | 0.91289 |  | 0
P1047_G7 | Area | Jones_JS_POC_run12_031815_024.prm | Unknown | 0 | 34.4265 | 0.0087 | 12.0864 | 502.8549 | 0.0631 | 87.9136 | 0.0685 | 0.064075 | 0.93592 |  | 0
control_H5 | Area | Jones_JS_POC_run12_031815_025.prm | Unknown | 1.362 | 363.0934 | 0.141 | 10.3548 | 6351.4125 | 0.9823 | 72.1213 | 0.0572 | 0.054076 | 0.94592 |  | 0
P1048_G8 | Area | Jones_JS_POC_run12_031815_026.prm | Unknown | 0 | 51.8777 | 0.0157 | 13.7923 | 725.8437 | 0.0982 | 86.2077 | 0.0715 | 0.066705 | 0.9333 |  | 0
P1049_G9 | Area | Jones_JS_POC_run12_031815_027.prm | Unknown | 0 | 30.8301 | 0.0072 | 11.468 | 456.3552 | 0.0558 | 88.532 | 0.0676 | 0.063282 | 0.93672 |  | 0
P1050_G10 | Area | Jones_JS_POC_run12_031815_028.prm | Unknown | 0 | 31.6546 | 0.0076 | 10.5555 | 508.9346 | 0.0641 | 89.4445 | 0.0622 | 0.058556 | 0.94144 |  | 0
P1051_G11 | Area | Jones_JS_POC_run12_031815_029.prm | Unknown | 0 | 34.6658 | 0.0088 | 10.2432 | 590.4415 | 0.0769 | 89.7568 | 0.0587 | 0.055456 | 0.94454 |  | 0
P1052_G12 | Area | Jones_JS_POC_run12_031815_030.prm | Unknown | 0 | 20.1576 | 0.0029 | 9.9594 | 269.8843 | 0.0265 | 90.0406 | 0.0747 | 0.069499 | 0.9305 |  | 0
P1053_H1 | Area | Jones_JS_POC_run12_031815_031.prm | Unknown | 0 | 46.2881 | 0.0135 | 10.7134 | 814.7093 | 0.1121 | 89.2866 | 0.0568 | 0.053761 | 0.94624 |  | 0
P1054_H2 | Area | Jones_JS_POC_run12_031815_032.prm | Unknown | 0 | 48.671 | 0.0144 | 14.3555 | 648.3963 | 0.086 | 85.6445 | 0.0751 | 0.069823 | 0.93018 |  | 0
P1055_H3 | Area | Jones_JS_POC_run12_031815_033.prm | Unknown | 0 | 51.4286 | 0.0155 | 16.8031 | 590.3139 | 0.0769 | 83.1969 | 0.0871 | 0.080139 | 0.91986 |  | 0
P1062_H10 | Area | Jones_JS_POC_run12_031815_034.prm | Unknown | 0 | 37.9895 | 0.0101 | 17.5253 | 404.036 | 0.0476 | 82.4747 | 0.094 | 0.085944 | 0.91406 |  | 0
P1063_H11 | Area | Jones_JS_POC_run12_031815_035.prm | Unknown | 0 | 59.9537 | 0.019 | 13.7454 | 858.1693 | 0.119 | 86.2546 | 0.0699 | 0.0653 | 0.9347 |  | 0
P1064_H12 | Area | Jones_JS_POC_run12_031815_036.prm | Unknown | 0 | 41.6611 | 0.0116 | 8.2763 | 918.6301 | 0.1285 | 91.7237 | 0.0454 | 0.043384 | 0.95662 |  | 0
control_H7 | Area | Jones_JS_POC_run12_031815_037.prm | Unknown | 0.95 | 262.633 | 0.1006 | 10.5871 | 4497.8652 | 0.691 | 72.7354 | 0.0584 | 0.055169 | 0.94483 |  | 0
P1065_A1 | Area | Jones_JS_POC_run12_031815_038.prm | Unknown | 0 | 52.8717 | 0.0161 | 12.932 | 791.1934 | 0.1084 | 87.068 | 0.0668 | 0.062639 | 0.93736 |  | 0
P1066_A2 | Area | Jones_JS_POC_run12_031815_039.prm | Unknown | 0 | 77.9276 | 0.0262 | 13.8505 | 1137.9696 | 0.1629 | 86.1495 | 0.0685 | 0.064091 | 0.93591 |  | 0
P1067_A3 | Area | Jones_JS_POC_run12_031815_040.prm | Unknown | 0 | 54.6687 | 0.0168 | 17.6573 | 600.5924 | 0.0785 | 82.3427 | 0.091 | 0.08343 | 0.91657 |  | 0
P1068_A4 | Area | Jones_JS_POC_run12_031815_041.prm | Unknown | 0 | 30.8286 | 0.0072 | 17.015 | 325.5575 | 0.0353 | 82.985 | 0.0947 | 0.086503 | 0.9135 |  | 0
P1069_A5 | Area | Jones_JS_POC_run12_031815_042.prm | Unknown | 0 | 24.6305 | 0.0047 | 6.5769 | 529.0294 | 0.0672 | 93.4231 | 0.0466 | 0.044487 | 0.95551 |  | 0
P1070_A6 | Area | Jones_JS_POC_run12_031815_043.prm | Unknown | 0 | 20.9829 | 0.0033 | 6.0317 | 424.8126 | 0.0509 | 93.9683 | 0.0494 | 0.047068 | 0.95293 |  | 0
P1071_A7 | Area | Jones_JS_POC_run12_031815_044.prm | Unknown | 0 | 34.6481 | 0.0088 | 14.2271 | 437.5365 | 0.0529 | 85.7729 | 0.0792 | 0.073378 | 0.92662 |  | 0
P1072_A8 | Area | Jones_JS_POC_run12_031815_045.prm | Unknown | 0 | 94.2359 | 0.0328 | 14.2254 | 1358.2203 | 0.1976 | 85.7746 | 0.0694 | 0.06488 | 0.93512 |  | 0
P1073_A9 | Area | Jones_JS_POC_run12_031815_046.prm | Unknown | 0 | 76.2572 | 0.0255 | 11.5431 | 1345.7376 | 0.1956 | 88.4569 | 0.0567 | 0.053627 | 0.94637 |  | 0
P1074_A10 | Area | Jones_JS_POC_run12_031815_047.prm | Unknown | 0 | 53.2564 | 0.0163 | 11.887 | 868.1641 | 0.1205 | 88.113 | 0.0613 | 0.057798 | 0.9422 |  | 0
P1075_A11 | Area | Jones_JS_POC_run12_031815_048.prm | Unknown | 0 | 45.5607 | 0.0132 | 11.9045 | 720.9601 | 0.0974 | 88.0955 | 0.0632 | 0.059438 | 0.94056 |  | 0
P1076_A12 | Area | Jones_JS_POC_run12_031815_049.prm | Unknown | 0 | 52.5639 | 0.016 | 10.9597 | 927.3982 | 0.1298 | 89.0403 | 0.0567 | 0.053639 | 0.94636 |  | 0
control_H12 | Area | 050.prm | Unknown | 1.174 | 311.9471 | 0.1204 | 10.2586 | 5501.4191 | 0.8487 | 72.2918 | 0.0567 | 0.05366 | 0.94634 |  | 0
P1077_B1 | Area | 051.prm | Unknown | 0 | 33.3633 | 0.0083 | 11.6045 | 501.0793 | 0.0628 | 88.3955 | 0.0666 | 0.062426 | 0.93757 |  | 0
P1078_B2 | Area | 052.prm | Unknown | 0 | 25.8265 | 0.0052 | 7.0303 | 540.0203 | 0.069 | 92.9697 | 0.0478 | 0.045642 | 0.95436 |  | 0
P1079_B3 | Area | 053.prm | Unknown | 0 | 47.5607 | 0.014 | 12.9418 | 699.0463 | 0.094 | 87.0582 | 0.068 | 0.063702 | 0.9363 |  | 0
P1080_B4 | Area | 054.prm | Unknown | 0 | 20.8361 | 0.0032 | 7.7741 | 343.1695 | 0.038 | 92.2259 | 0.0607 | 0.057241 | 0.94276 |  | 0
P1087_B11 | Area | 055.prm | Unknown | 0 | 21.3014 | 0.0034 | 6.535 | 409.965 | 0.0485 | 93.465 | 0.052 | 0.049393 | 0.95061 |  | 0
P1088_B12 | Area | 056.prm | Unknown | 0 | 42.9735 | 0.0121 | 12.6629 | 633.1052 | 0.0836 | 87.3371 | 0.0679 | 0.063563 | 0.93644 |  | 0